## TEMPLATE MULTI PAGE
PROFORMA INVOICE | [6 empty] | Invoice Number |  | KAM006
[7 empty] | Date |  | 22 Feb 2021
[7 empty] | Page |  | 1 of 1
Customer No. |  | TBA |  | Consignee |  | KAMOA COPPER SA
Payment Term |  | TBA |  |  |  | 1148-6 AVENUE DE LA LIBERATION,
VILLE DE LUBUMBASHI
Order No. |  | 1013-LOA-06-001 |  |  |  | DEMOCRATIC REPUBLIC OF CONGO
| Buyer | KAMOA COPPER SA |  | Notify |  | KAMOA COPPER SA
|  | 1148-6 AVENUE DE LA LIBERATION, |  |  |  | 1148-6 AVENUE DE LA LIBERATION,
|  | VILLE DE LUBUMBASHI |  |  |  | VILLE DE LUBUMBASHI
|  | DEMOCRATIC REPUBLIC OF CONGO |  |  |  | DEMOCRATIC REPUBLIC OF CONGO
Transport Mode |  |  | Air Freigh. |  |  | INCO Term |  | CPT Kolwezi
Point of Loading |  |  | GERMANY TO JOHANNESBURG, ZA, LUMBUMBASHI DRC |  |  | Currency |  | USD
Item | Description |  |  | HS code | Origin | Qty | UoM | Unit Price | Amount
1 | Agilent 5110 ICPOES |  |  |  | Germany | 2 | Ea. | 81231.06 | 162462.12
2 | Connection Kit (Argon Humidifier) |  |  |  | Germany | 2 | Ea. | 1449.844 | 2899.688
3 | ICP Expert Pro Software Pack |  |  |  | Germany | 2 |  | 833.2243 | 1666.4486
4 | Agilent Water Chiller |  |  |  | Germany | 2 |  | 4765.312 | 9530.624
5 | SPS4 Autosampler |  |  |  | Germany | 2 |  | 9354.685 | 18709.37
6 | SPS4 Intergrated cover kits |  |  |  | Germany | 2 |  | 897.9567 | 1795.9134
7 | ICPOES Wave Cal Solution Pack |  |  |  | Germany | 2 |  | 448.5356 | 897.0712
9 | ICPOES Operating Kit (OneNeb Bebuliser item12) |  |  |  | Germany | 2 |  | 887.1861 | 1774.3722
12 | PANEL, INTERNAL WALL, WITH SCIENTIFIC REG S/S 0-15 PSI ( for ARGON) GASCON (Gas Control Module nitrogen purge) |  |  |  | Germany | 2 |  | 2315.434 | 4630.868
13 | Agilent AA Exhaust System (fume exhaust kit) |  |  |  | Germany | 2 |  | 2108.787 | 4217.574
14 | G8010-60228 - Easy-Fit Torch One Piece 5100 DV ICP-OES |  |  |  | Germany | 6 |  | 838.201 | 5029.206
15 | 9910112000 - SPS 3 Probe |  |  |  | Germany | 2 |  | 283.9357 | 567.8714
16 | G8010-60256 - Double-Pass Glass Cyclonic Spray Chamber |  |  |  | Germany | 2 |  | 960.6648 | 1921.3296
17 | 2410020500 - Nebulizer Capillary Tubing, Per m |  |  |  | Germany | 1 |  | 8.1643 | 8.1643
18 | CP913246 - ICP Nebulizer, PTFE MiraMist |  |  |  | Germany | 3 |  | 1411.5155 | 4234.5464
19 | G8010-68014 - Spare Pre-Optic Window ax,5100 ICP |  |  |  | Germany | 2 |  | 0.21443 | 0.42885
20 | G8010-68018 - O-Ring Pre-Optic Window Ax |  |  |  | Germany | 2 |  | 53.6394 | 107.2789
21 | 8110002800 - Cleaning Powder Esteele 500g, MSDA RQD, 500/p |  |  |  | Germany | 1 |  | 34.2185 | 34.2185
22 | G8010-60610 - Assembly SSRF |  |  |  | Germany | 1 |  | 14064.8507 | 14064.8507
23 | G8010-65200 - Assy PCA ICP Instrument Control |  |  |  | Germany | 1 |  | 4202.3136 | 4202.3136
24 | G8010-67300 - Assy Mains Power Module |  |  |  | Germany | 1 |  | 4681.2151 | 4681.2151
25 | G8010-87301 - Assy RF Power Supply |  |  |  | Germany | 1 |  | 7621.7744 | 7621.7744
26 | G8014-65001 - Assy PCA Camera |  |  |  | Germany | 1 |  | 11707.4553 | 11707.4553
27 | G8010-67616 - Assy Water Module |  |  |  | Germany | 1 |  | 5760.9514 | 5760.9514
28 | G8014-60800 - Assy Gas Control |  |  |  | Germany | 1 |  | 16885.2429 | 16885.2429
29 | G8010-60312 - Assy Peri Pump 3 Channel |  |  |  | Germany | 1 |  | 4023.8305 | 4023.8305
30 | G8410-80123 Tubing rinse supply SPS 4, 2.5mm id x 1m |  |  |  | Germany | 2 |  | 20.6794 | 41.3588
31 | G8410-80124 Barb connector for SPS4, 2.5mm-1.5mm ID |  |  |  | Germany | 2 |  | 13.0606 | 26.1212
32 | G8410-80122 PVC waste tubing 8mm od x 5mm id 2m SPS4 |  |  |  | Germany | 2 |  | 20.6794 | 41.3588
33 | G8410-80505 X-Axis drive belt |  |  |  | Germany | 1 |  | 744.1875 | 744.1875
34 | G8410-80506 Z-Axis drive belt |  |  |  | Germany | 1 |  | 520.2725 | 520.2725
35 | G8410-80603 Flat flexible cable kit |  |  |  | Germany | 1 |  | 566.3729 | 566.3729
[6 empty] | Sub Total Amount |  |  | 291374.3991
[8 empty] | NET Amount | 291374.3991
[8 empty] | Sum of Tax 0 % | 0
Please use the following bank accounts for payment : | [7 empty] | TOTAL Amount | 291374.3991
Bank: |  | CITI BANK
Account No: |  | 0200416082
IBAN Code: |  | N/A
BIC/SWIFT: |  | CITIZAJX

## TEMPLATE SINGLE PAGE
PROFORMA INVOICE | [6 empty] | PF Invoice Number :
[7 empty] | Date : |  |  | 16 Feb 2021
[7 empty] | Page : |  |  | 1 of 1
Payment Term |  |  | TBA | Consignee | KAMOA
TBA
Order No. |  |  | TBA |  | TBA
DEMOCRATIC REPUBLIC OF CONGO
Buyer | KAMOA |  |  | Notify | TBA
TBA
TBA
DEMOCRATIC REPUBLIC OF CONGO
Transport Mode |  |  | Road Freight |  |  | INCO Term |  | CPT XXXXXXX
Point of Loading |  |  | Johannesburg, South Africa |  |  | Currency |  | USD
Item | HS Code | Origin | Description |  |  | Qty | UoM | Unit Price |  | Amount
1 |  | #REF! |  |  |  | 0 | Each | 0 |  | 0
2 |  | #REF! |  |  |  | 0 | Each | 0 |  | 0
3 |  | #REF! |  |  |  | 0 | Each | 0 |  | 0
4 |  | #REF! |  |  |  | 0 | Each | 0 |  | 0
5 |  | #REF! |  |  |  | 0 | Each | 0 |  | 0
|  |  | ROAD FREIGHT | [6 empty] | 0
AVAILABILITY: 1-2 WEEKS + BV PSI
** IMPORT LICENSE REQUIRED WITH PO **
[8 empty] | NET Amount | USD | 0
[8 empty] | Sum of Tax 0 % | USD | 0
[8 empty] | TOTAL Amount | USD | 0
Please use the following bank accounts for payment :
Bank: |  | TBA
Account No: |  | TBA
IBAN Code: |  | TBA
BIC/SWIFT: |  | TBA
FOR SGS SOUTH AFRICA LTD